## Project
Item | Value
Customer
Project Name
Revision
PLC
CPU
Designer
Date
Export Date | 2026-07-16
EOS Version | 0.2
ECS Version
Library Version

## Device List
No. | Area | Category | Device Type | Device Tag | Description | DI Count | DO Count | AI Count | AO Count | Total Signals | DI Start Address | DO Start Address | AI Start Address | AO Start Address
1 | PRE | Equipment | Pump | P-101 | Pump | 3 | 2 | 0 | 0 | 5
2 | PRE | Equipment | Pump | P-102 | Pump | 3 | 2 | 0 | 0 | 5
3 | PRE | Equipment | Pump | P-301 | Pump | 3 | 2 | 0 | 0 | 5
4 | PRE | Equipment | Pump | P-302 | Pump | 3 | 2 | 0 | 0 | 5

## FC_IO
No. | Area | Device Type | Device Tag | Device Description | Signal Name | I/O Type | PLC Address | Required | Signal Description | Remark | Rack | Slot | Channel | Terminal | Cable | Validation Status
1 | PRE | Pump | P-101 | Pump | Local/Remote Mode | DI | I0.0 | No | [7 empty] | OK
2 | PRE | Pump | P-101 | Pump | Run Feedback | DI | I0.1 | Yes | [7 empty] | OK
3 | PRE | Pump | P-101 | Pump | Fault Feedback | DI | I0.2 | Yes | [7 empty] | OK
4 | PRE | Pump | P-101 | Pump | Start Command | DO |  | Yes | [7 empty] | WARNING
5 | PRE | Pump | P-101 | Pump | Stop Command | DO | Q0.1 | No | [7 empty] | OK
6 | PRE | Pump | P-102 | Pump | Local/Remote Mode | DI | I1.0 | No | [7 empty] | OK
7 | PRE | Pump | P-102 | Pump | Run Feedback | DI | I1.1 | Yes | [7 empty] | OK
8 | PRE | Pump | P-102 | Pump | Fault Feedback | DI | I1.2 | Yes | [7 empty] | OK
9 | PRE | Pump | P-102 | Pump | Start Command | DO | Q1.0 | Yes | [7 empty] | OK
10 | PRE | Pump | P-102 | Pump | Stop Command | DO | Q1.1 | No | [7 empty] | OK
11 | PRE | Pump | P-301 | Pump | Local/Remote Mode | DI | I2.0 | No | [7 empty] | OK
12 | PRE | Pump | P-301 | Pump | Run Feedback | DI | I2.1 | Yes | [7 empty] | OK
13 | PRE | Pump | P-301 | Pump | Fault Feedback | DI | I2.2 | Yes | [7 empty] | OK
14 | PRE | Pump | P-301 | Pump | Start Command | DO | Q2.0 | Yes | [7 empty] | OK
15 | PRE | Pump | P-301 | Pump | Stop Command | DO | Q2.1 | No | [7 empty] | OK
16 | PRE | Pump | P-302 | Pump | Local/Remote Mode | DI | I3.0 | No | [7 empty] | OK
17 | PRE | Pump | P-302 | Pump | Run Feedback | DI | I3.1 | Yes | [7 empty] | OK
18 | PRE | Pump | P-302 | Pump | Fault Feedback | DI | I3.2 | Yes | [7 empty] | OK
19 | PRE | Pump | P-302 | Pump | Start Command | DO | Q3.0 | Yes | [7 empty] | OK
20 | PRE | Pump | P-302 | Pump | Stop Command | DO | Q3.1 | No | [7 empty] | OK

## IO Summary
Device I/O Summary
Device Tag | DI | DO | AI | AO | Total
P-101 | 3 | 2 | 0 | 0 | 5
P-102 | 3 | 2 | 0 | 0 | 5
P-301 | 3 | 2 | 0 | 0 | 5
P-302 | 3 | 2 | 0 | 0 | 5
Project I/O Summary
I/O Type | Count
DI | 12
DO | 8
AI | 0
AO | 0
Total | 20

## PLC Card Summary
I/O Type | Module | Used Channels | Channels per Card | Required Cards | Total Channels | Spare Channels
DI | DI 32CH | 12 | 32 | 1 | 32 | 20
DO | DO 32CH | 8 | 32 | 1 | 32 | 24
AI | AI 8CH | 0 | 8 | 0 | 0 | 0
AO | AO 8CH | 0 | 8 | 0 | 0 | 0

## Validation
Severity | Code | Area | Device Tag | Signal Name | I/O Type | PLC Address | Message
WARNING | MISSING_PLC_ADDRESS | PRE | P-101 | Start Command | DO |  | Enabled Signal without PLC Address