## Project
Item | Value
Customer
Project Name
Revision
PLC
CPU
Designer
Date
Export Date | 2026-07-16
EOS Version | 0.2
ECS Version
Library Version

## Device List
No. | Area | Category | Device Type | Device Tag | Description | DI Count | DO Count | AI Count | AO Count | Total Signals | DI Start Address | DO Start Address | AI Start Address | AO Start Address
1 | PRE | Equipment | Pump | P-101 | Pump | 3 | 2 | 0 | 0 | 5

## FC_IO
No. | Area | Device Type | Device Tag | Device Description | Signal Name | I/O Type | PLC Address | Required | Signal Description | Remark | Rack | Slot | Channel | Terminal | Cable | Validation Status
1 | PRE | Pump | P-101 | Pump | Local/Remote Mode | DI | I0.0 | No | [7 empty] | ERROR
2 | PRE | Pump | P-101 | Pump | Run Feedback | DI | I0.0 | Yes | [7 empty] | ERROR
3 | PRE | Pump | P-101 | Pump | Fault Feedback | DI | I0.2 | Yes | [7 empty] | OK
4 | PRE | Pump | P-101 | Pump | Start Command | DO | Q0.0 | Yes | [7 empty] | OK
5 | PRE | Pump | P-101 | Pump | Stop Command | DO | Q0.1 | No | [7 empty] | OK

## IO Summary
Device I/O Summary
Device Tag | DI | DO | AI | AO | Total
P-101 | 3 | 2 | 0 | 0 | 5
Project I/O Summary
I/O Type | Count
DI | 3
DO | 2
AI | 0
AO | 0
Total | 5

## PLC Card Summary
I/O Type | Module | Used Channels | Channels per Card | Required Cards | Total Channels | Spare Channels
DI | DI 32CH | 3 | 32 | 1 | 32 | 29
DO | DO 32CH | 2 | 32 | 1 | 32 | 30
AI | AI 8CH | 0 | 8 | 0 | 0 | 0
AO | AO 8CH | 0 | 8 | 0 | 0 | 0

## Validation
Severity | Code | Area | Device Tag | Signal Name | I/O Type | PLC Address | Message
ERROR | DUPLICATE_PLC_ADDRESS | PRE | P-101 | Local/Remote Mode | DI | I0.0 | Duplicate PLC Address I0.0: P-101 / Local/Remote Mode; P-101 / Run Feedback
ERROR | DUPLICATE_PLC_ADDRESS | PRE | P-101 | Run Feedback | DI | I0.0 | Duplicate PLC Address I0.0: P-101 / Local/Remote Mode; P-101 / Run Feedback